## Document Control
Author | Date Updated | Version | Actions
Kim M. Santos | 2025-03-12 | 1 | Initial Creation
Kim M. Santos | 2025-03-13 | 1.1 | Created Manual Test Cases for: Light Control FDAS CCTV and Door Parking Battery Elevator and Escalator

## Test Case
Manual Test Case - HIMO BEMS
Not Executed |  | 0
Passed |  | 219
Failed |  | 42
Blocked |  | 0
Total Executed |  | 261
Success Rate |  | 83.91%
# | Pre-condition | Steps/Condition | Input Data | Expected Result | Actual Result | Status | Comment
HIMO BEMS Navigation and Login
HIMO BEMS Navigation
1 |  | Open your computer. |  | User's device is opened | User's device is opened | Passed
2 |  | Open your computer's browser. |  | Browser is opened | Browser is opened | Passed
3 |  | Access the HIMO BEMS | https://www.himo.bems.hirayatech.ai/login | The user has accessed the HIMO BEMS | The user has accessed the HIMO BEMS | Passed
HIMO BEMS Login
1 | 1. User has existing account | Login user account | Username: kimqsantos Password: hiraya@7827 | Upon successful login, the user will be prompted to trust the device via their registered email. | Upon successful login, the user will be prompted to trust the device via their registered email. | Passed
2 |  | Verify login thru the registered email by logging in to your gmail or any email the is connected to the account |  | The connected email is logged in. | The connected email is logged in. | Passed
3 |  | Select the "Security Alert: Unknown Device Detected on Your Account - System: HIMO BEMS" sent to your email |  | The security email is opened | The security email is opened | Passed
4 |  | Click the highlighted "link" |  | The user is redirected to OTP Page | The user is redirected to OTP Page | Passed
5 |  | Insert the sent OTP to your email once again. |  | The user has successfully logged in to the HIMO BEMS. | The user has successfully logged in to the HIMO BEMS. | Passed
6 |  | Login redirection |  | The user will land on the HIMO BEMS landing page | The user will land on the HIMO BEMS landing page | Passed
HIMO BEMS Overview
HIMO BEMS Overview Landing Page
1 | 1. The user is logged in | Verify Successful Login and Landing Page |  | The user is logged in successfully. Overview page is visible with correct components such as graphs, meters, and descriptions. | The user is logged in successfully. Overview page is visible with correct components such as graphs, meters, and descriptions. | Passed
HIMO BEMS Overview - Meters
1 | 1. The user is logged in 2. The user is on the Overview Page | Verify the displayed meters |  | The meters should represent the output data of the system The should be constantly moving depending on the data | The meters should represent the output data of the system The should be constantly moving depending on the data | Passed
2 |  | Ensure the following meters are displayed: 1. Power Meter 2. Water Meter 3. Gas Meter 4. Air Meter 5. Light Meter |  | Each meter should be visible and show real-time values | Each meter should be visible and show real-time values | Passed
3 |  | Verify that each meter is not blank and updates based on system data |  | The meter values should update if data changes. | The meter values should update if data changes. | Passed
4 |  | Hover over each meter to verify tooltips or labels (if applicable) |  | The meter should display labels and tooltip when hovering on it | There is no label and tooltip displayed when hovering | Failed | There is no tooltip and label when hovering the meters
HIMO BEMS Overview - Line Graphs (Calamba Building)
1 | 1. The user is logged in 2. The user is on the Overview Page | Verify the following graph: Power Graph: Displays Current Consumption, Voltage, Current, Energy Consumption, and Power Factor. |  | The Power graph is diplayed with appropriate legends and labels | The Power graph is diplayed with appropriate legends and labels | Passed
2 |  | Verify that Power graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
3 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
4 |  | Verify the following graph: Water Graph: Displays Current Flow Rate, Total Usage, Pressure, and Temperature. |  | The Water graph is diplayed with appropriate legends and labels | The Water graph is diplayed with appropriate legends and labels | Passed
5 |  | Verify that Water graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
6 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
7 |  | Verify the following graph: Gas Graph: Displays Current Flow Rate, Total Usage, Pressure, and Temperature. |  | The Gas graph is diplayed with appropriate legends and labels | The Gas graph is diplayed with appropriate legends and labels | Passed
8 |  | Verify that Gas graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
9 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
10 |  | Verify the following graph: Air Graph: Displays Current Consumption, Temperature, Humidity, Air Quality, and Flow Rate. |  | The Air graph is diplayed with appropriate legends and labels | The Air graph is diplayed with appropriate legends and labels | Passed
11 |  | Verify that Air graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
12 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
13 |  | Verify the following graph: Light Graph: Displays Current Consumption, Luminosity, and Energy Consumption. |  | The Light graph is diplayed with appropriate legends and labels | The Light graph is diplayed with appropriate legends and labels | Passed
14 |  | Verify that Light graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
15 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
16 |  | Verify the following graph: FDAS Graph: Displays Battery Level. |  | The FDAS graph is diplayed with appropriate legends and labels | The FDAS graph is diplayed with appropriate legends and labels | Passed
17 |  | Verify that FDAS graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
18 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
HIMO BEMS Overview - Line Graphs (Calamba Side Building)
1 | 1. The user is logged in 2. The user is on the Overview Page | Verify the following graph: Power Graph: Displays Current Consumption, Voltage, Current, Energy Consumption, and Power Factor. |  | The Power graph is diplayed with appropriate legends and labels | The Power graph is diplayed with appropriate legends and labels | Passed
2 |  | Verify that Power graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
3 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
4 |  | Verify the following graph: Water Graph: Displays Current Flow Rate, Total Usage, Pressure, and Temperature. |  | The Water graph is diplayed with appropriate legends and labels | The Water graph is diplayed with appropriate legends and labels | Passed
5 |  | Verify that Water graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
6 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
7 |  | Verify the following graph: Gas Graph: Displays Current Flow Rate, Total Usage, Pressure, and Temperature. |  | The Gas graph is diplayed with appropriate legends and labels | The Gas graph is diplayed with appropriate legends and labels | Passed
8 |  | Verify that Gas graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
9 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
10 |  | Verify the following graph: Air Graph: Displays Current Consumption, Temperature, Humidity, Air Quality, and Flow Rate. |  | The Air graph is diplayed with appropriate legends and labels | The Air graph is diplayed with appropriate legends and labels | Passed
11 |  | Verify that Air graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
12 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
13 |  | Verify the following graph: Light Graph: Displays Current Consumption, Luminosity, and Energy Consumption. |  | The Light graph is diplayed with appropriate legends and labels | The Light graph is diplayed with appropriate legends and labels | Passed
14 |  | Verify that Light graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
15 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
16 |  | Verify the following graph: FDAS Graph: Displays Battery Level. |  | The FDAS graph is diplayed with appropriate legends and labels | The FDAS graph is diplayed with appropriate legends and labels | Passed
17 |  | Verify that FDAS graph update over time as data changes. |  | The graph should update when there's new data | The graph should update when there's new data | Passed
18 |  | Ensure that tooltips or labels appear when hovering over data points (if applicable). |  | The graph should display tooltip or label when the user hover the cursor to the graph | Label appears when the cursor is hovered | Passed
HIMO BEMS Overview - Line Graphs (Calamba Side Building)
1 | 1. The user is logged in 2. The user is on the Overview Page | Verify the following graph: Power Graph: Displays Current Consumption, Voltage, Current, Energy Consumption, and Power Factor. |  | The Power graph is diplayed with appropriate legends and labels | The Power graph is diplayed with appropriate legends and labels | Passed
2 |  | The user navigates to the Energy Consumption section |  | The user is on energy consumption section | The user is on energy consumption section | Passed
3 |  | Verify that the Energy Consumption graph updates over time as data changes |  | The graphs update depending on the data | The graphs update based on the system's data | Passed
4 |  | Ensure that tooltips or labels appear when hovering over data points |  | The tooltips or labels are visible | Tooltip appears when hovering over data points | Passed
5 |  | Verify that all categories (Power, Water, Gas, Air, Light) are represented in the graph |  | The legend should display all categories correctly, and their corresponding lines should be visible on the graph | All categories are present and represented | Passed
6 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
7 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
9 |  | Verify that the Download CSV button works correctly |  | The data is downloaded in CSV Format | The data is downloaded in CSV Format | Passed
HIMO BEMS SLD
HIMO BEMS SLD - Meters and Circuit Breaker Connections
1 | 1. The user is logged in | Verify HIMO BEMS Side Bar |  | The sidebar should display tooltips when hovering the cursor | The tooltip is present | Passed
2 |  | The user navigates to the SLD (Single Line Diagram) page |  | The SLD diagram is displayed properly with all components visible | The SLD diagram is displayed correctly | Passed
3 | 1. The user is on the SLD Page | Verify that the circuit breakers and other components are represented correctly |  | All SLD elements should be properly displayed with appropriate symbols and connections | All elements are visible and correctly connected | Passed
4 |  | Ensure that circuit breaker status indicators displayed |  | The circuit breakers should change colors based on their status | The circuit breaker changes color depending on their status | Passed
5 |  | Verify that Power Meter gauges display correct values for each power meter |  | Each power meter should show a percentage value matching the backend data | All Power Meter values are displayed correctly | Passed
6 |  | Ensure that power meters change color based on load percentage |  | The Power Meter colors should reflect the corresponding load status | Power Meters are showing red, yellow, and gray correctly | Passed
7 |  | Check for interactivity by hovering over components |  | Hovering over a circuit breaker or power meter should show additional information | There is no tooltip displayed when hovering the cursor over circuit breakers and meters | Failed
8 |  | Verify if the Power Meters are clickable |  | Power meters should be clickable and redirect the user to more detailed information about that power meter | The power meter is cickable and redirects the user for more detailed information | Passed
9
HIMO BEMS SLD - Power Meters Historical Data Page
1 | 1. The user is logged in 2. The user is on the SLD Page | Verify if the Power Meters are clickable |  | Power meters should be clickable and redirect the user to more detailed information about that power meter | The power meter is cickable and redirects the user for more detailed information | Passed
2 |  | Loop through each Power Meter (1-6): Click on Power Meter X |  | The system redirects to the corresponding Power Meter's historical data page | The system redirects correctly | Passed
3 |  | Verify the breadcrumb navigation (Home > Power Meters > Power Meter 1) |  | The breadcrumb should be displayed correctly | The breadcrumb works but when you go back to the previous page, it redirects the user to power meters instead of SLD Page | Failed | The breadcrumb works but when you go back to the previous page, it redirects the user to power meters instead of SLD Page
4 |  | Verify that the circuit breakers and other components are represented correctly |  | The chart should display Voltage, Current, and Power trends over time | All elements are visible and correctly connected | Passed
5 |  | Verify that historical data is displayed with proper labels (Voltage, Current, Power) |  | The lines on the graph match their respective legends | Colors match correctly | Passed | The colors does match correctly but red and orange may look the same and may confuse the user.
6 |  | Check that the graph lines correspond to the legend (Red for Voltage, Orange for Current, Yellow for Power) |  | Each power meter should show a percentage value matching the backend data | All Power Meter values are displayed correctly | Passed
7 |  | Ensure that power meters change color based on load percentage |  | The Power Meter colors should reflect the corresponding load status | Power Meters are showing red, yellow, and gray correctly | Passed
8 |  | Check for interactivity by hovering over components |  | Hovering over a circuit breaker or power meter should show additional information | There is no tooltip displayed when hovering the cursor over circuit breakers and meters | Failed
9 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
10 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
11 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
12 |  | Verify that the Download CSV button works correctly |  | The data is downloaded in CSV Format | The data is downloaded in CSV Format | Passed
HIMO BEMS SLD - Power Meters Historical Data Page (Alarms)
1 | 1. The user is logged in 2. The user is on the SLD Page | Loop through each Power Meter (1-6): Click on Power Meter X |  | The system redirects to the corresponding Power Meter's historical data page | The system redirects correctly | Passed
2 |  | Scroll down to the Alarms section |  | The Alarms table is visible | The Alarms table is visible | Passed
3 |  | Verify the column headers (Timestamp, Alarm, Building, Floor, Priority) |  | All columns should be present and correctly labeled | All columns are visible | Passed
4 |  | Check for any existing alarms |  | If alarms exist, they should be displayed | No results found |  | There is no data displayed currently
5 |  | Test the View filter by enabling/disabling column |  | The selected columns should appear/disappear accordingly | All columns are visible/ not visible when toggled | Passed
6 |  | Verify the pagination buttons ("Previous" & "Next") |  | The table should move to the next or previous page | The buttons are not clickable at the moment since there are no data
HIMO BEMS HVAC
HIMO BEMS HVAC - Floor Selection
1 | 1. The user is logged in | Navigate to HVAC Page by clicking the third icon in the side bar |  | The user is redirected to HVAC Page | The user is redirected to HVAC Page | Passed
| 1. The user in on the HVAC Page | Click on Ground Floor |  | The right panel should show HVAC devices and data for the Ground Floor | Devices and Data for Ground Floor displayed | Passed
|  | Click on First Floor |  | The right panel should show HVAC devices and data for the First Floor | Devices and Data for First Floor are displayed | Passed
|  | Click on Second Floor |  | The right panel should show HVAC devices and data for the Second Floor | Devices and Data for Second Floor are displayed | Passed
|  | Click on Third Floor |  | The right panel should show HVAC devices and data for the Third Floor | Devices and Data for Third Floor are displayed | Passed
|  | Click on Fourth Floor |  | The right panel should show HVAC devices and data for the Fourth Floor | Devices and Data for Fourth Floor are displayed | Passed
|  | Click the Ground Floor on the Calamba Side Building Section |  | The right panel should show HVAC devices and data for the Ground Floor in Calamba Side Building | Devices and Data for Ground Floor (Calamba Side Building) are displayed | Passed
|  | Click the First Floor on the Calamba Side Building Section |  | The right panel should show HVAC devices and data for the First Floor in Calamba Side Building | Devices and Data for Fourth Floor (Calamba Side Building) are displayed | Passed
HIMO BEMS HVAC - Equipment Status & Data
1 | 1. The user is logged in | Navigate to HVAC Page by clicking the third icon in the side bar |  | The user is redirected to HVAC Page | The user is redirected to HVAC Page | Passed
|  | Click on Ground Floor and Verify the equipment and data on the right panel |  | Building and the following information alongside their swithces are displayed: Lobby Section 1. Central Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate 2. Ventilation Fan a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate 3. Air Purifier a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate 4. Humidifier a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate Reception Section 1. Split Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate 2. Ventilation Fan a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate 3. Dehumidifier a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office 101 1. Window Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate Office 102 1. Portable Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Second Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Conference Room 1. Ductless Mini-Split a. Window Air Conditioner b. Current Consumption c. Temperature d. Humidity e. Air Quality f. Flow Rate Break Room 1. Ventilation Fan a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Third Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office 301 1. Central Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate Office 302 2. Split Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Fourth Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Server Room 1. Precision Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate Storage 2. Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Ground Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Lobby (Ground Floor) 1. Ventilation Fan a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office (First Floor) 1. Air Conditioner a. Current Consumption b. Temperature c. Humidity d. Air Quality e. Flow Rate |  | Passed
HIMO BEMS HVAC - Equipment Status & Data (Historical Data)
1 | 1. The user is logged in. 2. The user is on HVAC Page | The user selects a Floor (e.g., Ground Floor) |  | The system should display the list of equipment available on that floor | The floor's equipment list is displayed correctly | Passed
2 |  | The user clicks on a specific equipment (e.g., Central Air Conditioner) |  | The system should redirect to the historical data page of the selected equipment | The system redirects correctly | Passed
3 |  | Verify that the historical data chart is displayed with proper labels (e.g., Current Consumption, Temperature, Humidity, Air Quality, Flow Rate) |  | The chart should display the corresponding trends over time | The chart is displayed correctly | Passed
4 |  | Check that the graph lines correspond to the legend (e.g., Blue for Current Consumption, Orange for Temperature, Green for Humidity, Purple for Air Quality, Red for Flow Rate) |  | The lines on the graph match their respective legends | Colors match correctly | Passed
5 |  | Verify that hovering over the graph displays tooltip information (showing values for each parameter) |  | The tooltip should display the correct values for the selected timestamp | Tooltip values are correct | Passed
6 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
7 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
9 |  | Verify that the Download CSV button functions properly |  | Clicking the button should download a CSV file with historical data | CSV file downloads successfully | Passed
10 |  | Repeat steps 1-9 for all equipment on all available floors |  | The historical data should be displayed correctly for all devices | Data is displayed correctly for all devices | Passed
HIMO BEMS HVAC - Equipment Status & Data (Alarms)
1 | 1. The user is logged in. 2. The user is on HVAC Page | The user navigates to the HVAC Dashboard and selects a floor and equipment |  | The HVAC Dashboard should display the selected floor and equipment's historical data | The floor and equipment data are displayed correctly | Passed
2 |  | Scroll down to the Alarms section |  | The Alarms table should be visible below the historical data | The Alarms section is visible | Passed
3 |  | Check if the table has column headers (Timestamp, Message, Building, Floor, Priority) |  | All columns should be present and correctly labeled | Column headers are displayed correctly | Passed
4 |  | Verify that sorting works for each column |  | Clicking on a column header should sort the table accordingly | No results found |  | There is no data displayed currently
5 |  | Verify the View dropdown allows users to show/hide columns |  | Checking/unchecking columns should update the table view | View dropdown works correctly | Passed
|  | Check for alarm entries in the table |  | If there are alarms, they should be displayed; if not, it should say "No results." | "No results." is displayed as expected | Passed
6 |  | Verify the pagination buttons ("Previous" & "Next") |  | The table should move to the next or previous page | The buttons are not clickable at the moment since there are no data |  | There is no data displayed currently
7 |  | Repeat steps 1 to 6 for all floors and equipements |  | The alarms data should be displayed correctly for all devices | The alarms data should be displayed correctly for all devices |  | There is no data displayed currently
HIMO BEMS Water Management
HIMO BEMS Water Management - Water Levels
1 | 1. The user is logged in | Navigate to Water Management Page by clicking the fourth icon in the side bar |  | The user is redirected to Water Management page | The user is redirected to Water Management page | Passed
2 | 1. The user is on the Water Management page | Verify Water Management page |  | The water management graph and components are visible | Water level line graph and pumps are visible | Passed
3 |  | Verify that the Water Level graph updates over time as data changes |  | The graph is changing depending on the data | The graph is changing depending on the data | Passed
4 |  | Ensure that there is tooltip or legend when hovering the cursor to the water level graph |  | There should be a tooltip visible when hovering your cursor in the graph | Tooltip is visible when hovering | Passed
5 |  | Ensure the legends and color matches the tooltip |  | The legends should match the assigned colors in the graph | The legend and tooltip matches | Passed
6 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
7 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
9 |  | Verify that the Download CSV button functions properly |  | Clicking the button should download a CSV file with historical data | CSV file downloads successfully | Passed
HIMO BEMS HVAC - Pumps
1 | 1. The user is logged in | Navigate to Water Management Page by clicking the fourth icon in the side bar |  | The user is redirected to Water Management page | The user is redirected to Water Management page | Passed
2 | 1. The user is on the Water Management page | Verify Water Management page |  | The water management graph and components are visible | Water level line graph and pumps are visible | Passed
2 |  | Navigate to the Pumps under the water level graph |  | All pumps should be visible and complete | All pumps should be visible and complete | Passed
|  | Verify Pumps components |  | The following should be visible: Pump Status Water Level Temperature Pressure Flow Rate Pump Switch | Pump Status Water Level Temperature Pressure Flow Rate Pump Switch Are visible | Passed
|  | Verify the Pump Switch |  | The switch should be able to turn on or off the pump | The switch is not clickable | Failed
HIMO BEMS HVAC - Pumps Historical Data
1 |  | Loop through each Pump (1-5): Click on Pump X |  | Verify if all pumps are accessible | All pumps are accessible and redirect the user to their respective historical data page | Passed
2 |  | Verify the breadcrumb navigation (Home > Water Management > Pump X) |  | The breadcrumb should be displayed correctly | The breadcrumb is displayed correctly and working as intended | Passed
3 |  | Verify that the historical data and other components are represented correctly |  | The chart should display Water Level, Temperature, Pressure, Flow rate | All elements are visible and correctly connected | Passed
4 |  | Verify that historical data is displayed with proper labels (Water Level, Temperature, Pressure, Flow rate) |  | The lines on the graph match their respective legends | Colors match correctly | Passed | The colors does match correctly but red and orange may look the same and may confuse the user.
5 |  | Check that the graph lines correspond to the legend |  | Each power meter should show a percentage value matching the backend data | All Power Meter values are displayed correctly |  | Can't verify
6 |  | Check for interactivity by hovering over components |  | Hovering over a the graph should show additional information | Legends and their current value is displayed when hovering | Passed
7 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
9 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
10 |  | Verify that the Download CSV button works correctly |  | The data is downloaded in CSV Format | The data is downloaded in CSV Format | Passed
HIMO BEMS HVAC - Pumps Historical Data (Alarms
1 | 1. The user is logged in. 2. The user is on Water Management Page | The user navigates to the Water Management and Loop through each Pump (1-5): Click on Pump X |  | 'Verify if all pumps are accessible | All pumps are accessible and redirect the user to their respective historical data page | Passed
2 |  | Scroll down to the Alarms section |  | The Alarms table should be visible below the historical data | The Alarms section is visible | Passed
3 |  | Check if the table has column headers (Timestamp, Message, Building, Floor, Priority) |  | All columns should be present and correctly labeled | Column headers are displayed correctly | Passed
4 |  | Verify that sorting works for each column |  | Clicking on a column header should sort the table accordingly | No results found |  | There is no data displayed currently
5 |  | Verify the View dropdown allows users to show/hide columns |  | Checking/unchecking columns should update the table view | View dropdown works correctly | Passed
|  | Check for alarm entries in the table |  | If there are alarms, they should be displayed; if not, it should say "No results." | "No results." is displayed as expected | Passed
6 |  | Verify the pagination buttons ("Previous" & "Next") |  | The table should move to the next or previous page | The buttons are not clickable at the moment since there are no data |  | There is no data displayed currently
7 |  | Repeat steps 1 to 6 for all floors and equipements |  | The alarms data should be displayed correctly for all devices | The alarms data should be displayed correctly for all devices |  | There is no data displayed currently
HIMO BEMS Light Control
HIMO BEMS Light Control Floor Selection
1 | 1. The user is logged in | Navigate to Light Control Page by clicking the fifth icon in the side bar |  | The user is redirected to Light Control Page | The user is redirected to Light Control Page | Passed
| 1. The user in on the Light Control Page | Click on Ground Floor |  | The right panel should show Light Control devices and data for the Ground Floor | Devices and Data for Ground Floor displayed | Passed
|  | Click on First Floor |  | The right panel should show Light Control devices and data for the First Floor | Devices and Data for First Floor are displayed | Passed
|  | Click on Second Floor |  | The right panel should show Light Control devices and data for the Second Floor | Devices and Data for Second Floor are displayed | Passed
|  | Click on Third Floor |  | The right panel should show Light Control devices and data for the Third Floor | Devices and Data for Third Floor are displayed | Passed
|  | Click on Fourth Floor |  | The right panel should show Light Control devices and data for the Fourth Floor | Devices and Data for Fourth Floor are displayed | Passed
|  | Click the Ground Floor on the Calamba Side Building Section |  | The right panel should show Light Control devices and data for the Ground Floor in Calamba Side Building | Devices and Data for Ground Floor (Calamba Side Building) are displayed | Passed
|  | Click the First Floor on the Calamba Side Building Section |  | The right panel should show Light Control devices and data for the First Floor in Calamba Side Building | Devices and Data for Fourth Floor (Calamba Side Building) are displayed | Passed
HIMO BEMS Light Control - Equipment Status & Data
1 | 1. The user is logged in | Navigate to Light Control Page by clicking the fifth icon in the side bar |  | The user is redirected to Light Control Page | The user is redirected to Light Control Page | Passed
| 1. The user in on the Light Control Page | Click on Ground Floor and Verify the equipment and data on the right panel |  | Building and the following information alongside their swithces are displayed: Ground Floor Lobby 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: 2. Chandelier Current Consumption: Energy Consumption: Luminosity: 3. Discharge Lamp Current Consumption: Energy Consumption: Luminosity: Reception 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: 2. Track Light Current Consumption: Energy Consumption: Luminosity: | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office 101 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: 2. Ceiling Light Current Consumption: Energy Consumption Luminosity: Office 102 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Second Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Conference Room 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: Break Room 1. Light Bulb Current Consumption: Energy Consumption: Luminosity: | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Third Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office 301 1. Light Bulb Current Consumption Energy Consumption Luminosity Office 302 2. Light Bulb Current Consumption Energy Consumption Luminosity |  | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Fourth Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Server Room 1. Light Bulb Current Consumption Energy Consumption Luminosity Storage 1. Light Bulb Current Consumption Energy Consumption Luminosity | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Ground Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Lobby (Ground Floor) 1. Light Bulb Current Consumption Energy Consumption Luminosity | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office (First Floor) 1. Light Bulb Current Consumption Energy Consumption Luminosity | All components are visible | Passed
HIMO BEMS Light Control - Equipment Status & Data (Historical Data)
1 | 1. The user is logged in. 2. The user in on the Light Control Page | The user selects a Floor (e.g., Ground Floor) |  | The system should display the list of equipment available on that floor | The floor's equipment list is displayed correctly | Passed
2 |  | The user clicks on a specific equipment (e.g., Light Bulb) |  | The system should redirect to the historical data page of the selected equipment | The system redirects correctly | Passed
3 |  | Verify that the historical data chart is displayed with proper labels (e.g., Current Consumption, Energy Consumption, Luminosity) |  | The chart should display the corresponding trends over time | The chart is displayed correctly | Passed
4 |  | Check that the graph lines correspond to the legend (e.g., Dark Green for Current Consumption, Blue for Energy Consumption, Light Green for Luminosity) |  | The lines on the graph match their respective legends | Colors match correctly | Passed
5 |  | Verify that hovering over the graph displays tooltip information (showing values for each parameter) |  | The tooltip should display the correct values for the selected timestamp | Tooltip values are correct | Passed
6 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
7 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
9 |  | Verify that the Download CSV button functions properly |  | Clicking the button should download a CSV file with historical data | CSV file downloads successfully | Passed
10 |  | Repeat steps 1-9 for all equipment on all available floors |  | The historical data should be displayed correctly for all devices | Data is displayed correctly for all devices | Passed
HIMO BEMS Light Control - Equipment Status & Data (Alarms)
1 | 1. The user is logged in. 2. The user in on the Light Control Page | The user navigates to the Light Control and selects a floor and equipment |  | The Light Control should display the selected floor and equipment's historical data | The floor and equipment data are displayed correctly | Passed
2 |  | Scroll down to the Alarms section |  | The Alarms table should be visible below the historical data | The Alarms section is visible | Passed
3 |  | Check if the table has column headers (Timestamp, Message, Building, Floor, Priority) |  | All columns should be present and correctly labeled | Column headers are displayed correctly | Passed
4 |  | Verify that sorting works for each column |  | Clicking on a column header should sort the table accordingly | No results found |  | There is no data displayed currently
5 |  | Verify the View dropdown allows users to show/hide columns |  | Checking/unchecking columns should update the table view | View dropdown works correctly | Passed
|  | Check for alarm entries in the table |  | If there are alarms, they should be displayed; if not, it should say "No results." | "No results." is displayed as expected | Passed
6 |  | Verify the pagination buttons ("Previous" & "Next") |  | The table should move to the next or previous page | The buttons are not clickable at the moment since there are no data |  | There is no data displayed currently
7 |  | Repeat steps 1 to 6 for all floors and equipements |  | The alarms data should be displayed correctly for all devices | The alarms data should be displayed correctly for all devices |  | There is no data displayed currently
HIMO BEMS FDAS
HIMO BEMS FDAS Floor Selection
1 | 1. The user is logged in | Navigate to FDAS Page by clicking the sixth icon in the side bar |  | The user is redirected to FDAS Page | The user is redirected to FDAS Page | Passed
| 1. The user in on theFDAS Page | Click on Ground Floor |  | The right panel should show FDAS devices and data for the Ground Floor | Devices and Data for Ground Floor displayed | Passed
|  | Click on First Floor |  | The right panel should show FDAS devices and data for the First Floor | Devices and Data for First Floor are displayed | Passed
|  | Click on Second Floor |  | The right panel should show FDAS devices and data for the Second Floor | Devices and Data for Second Floor are displayed | Passed
|  | Click on Third Floor |  | The right panel should show FDAS devices and data for the Third Floor | Devices and Data for Third Floor are displayed | Passed
|  | Click on Fourth Floor |  | The right panel should show FDAS devices and data for the Fourth Floor | Devices and Data for Fourth Floor are displayed | Passed
|  | Click the Ground Floor on the Calamba Side Building Section |  | The right panel should show FDAS devices and data for the Ground Floor in Calamba Side Building | Devices and Data for Ground Floor (Calamba Side Building) are displayed | Passed
|  | Click the First Floor on the Calamba Side Building Section |  | The right panel should show FDAS devices and data for the First Floor in Calamba Side Building | Devices and Data for Fourth Floor (Calamba Side Building) are displayed | Passed
HIMO BEMS FDAS- Equipment Status & Data
1 | 1. The user is logged in | Navigate to Light Control Page by clicking the fifth icon in the side bar |  | The user is redirected to Light Control Page | The user is redirected to Light Control Page | Passed
| 1. The user in on the FDAS Page | Click on Ground Floor and Verify the equipment and data on the right panel |  | Building and the following information alongside their swithces are displayed: Ground Floor Lobby 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level Reception 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: First Floor Office 101 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level Office 102 "No devices here" | All components are visible. The "No devices here" is visible when there is no installed device in that floor | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Second Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Second Floor Conference Room 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level Break Room "No devices here" | All components are visible. The "No devices here" is visible when there is no installed device in that floor | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Third Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Third Floor Office 301 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Office 302 Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level | All components are visible. | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Fourth Floor and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Fourth Floor Server Room 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level Storage "No devices here" | All components are visible. The "No devices here" is visible when there is no installed device in that floor | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on Ground Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Lobby (Ground Floor) 1. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level | All components are visible | Passed
|  | Verify the switches for the equipments |  | The switches should allow the user to change its status | The switch is not functional | Failed
|  | Click on First Floor and in Calamba Side Building and Verify the equipment and data on the right panel |  | Building and the following information are displayed: Office (First Floor) 1. Heat Detector Smoke/Heat Detected Alarm Triggered Battery Level 2. Smoke Detector Smoke/Heat Detected Alarm Triggered Battery Level | All components are visible | Passed
HIMO BEMS FDAS - Equipment Status & Data (Historical Data)
1 | 1. The user is logged in. 2. The user in on the FDAS Page | The user selects a Floor (e.g., Ground Floor) |  | The system should display the list of equipment available on that floor | The floor's equipment list is displayed correctly | Passed
2 |  | The user clicks on a specific equipment (e.g., Snoke Detector) |  | The system should redirect to the historical data page of the selected equipment | The system redirects correctly | Passed
3 |  | Verify that the historical data chart is displayed with proper labels (e.g., Battery Level) |  | The chart should display the corresponding trends over time | The chart is displayed correctly | Passed
4 |  | Check that the graph lines correspond to the legend (e.g., Yellow for Battery Level) |  | The lines on the graph match their respective legends | Colors match correctly | Passed
5 |  | Verify that hovering over the graph displays tooltip information (showing values for each parameter) |  | The tooltip should display the correct values for the selected timestamp | Tooltip values are correct | Passed
6 |  | Ensure that users can filter data by time range (Last 30 Days) |  | The graph should filter the data from the past 30 days | The filter is not working | Failed
7 |  | Ensure that users can filter data by time range (Last 7 Days) |  | The graph should filter the data from the past 7 days | The filter is not working | Failed
8 |  | Ensure that users can filter data by time range (Last Day) |  | The graph should filter the data from the last day | The graph is filtered | Passed
9 |  | Verify that the Download CSV button functions properly |  | Clicking the button should download a CSV file with historical data | CSV file downloads successfully | Passed
10 |  | Repeat steps 1-9 for all equipment on all available floors |  | The historical data should be displayed correctly for all devices | Data is displayed correctly for all devices | Passed
HIMO BEMS Light Control - Equipment Status & Data (Alarms)
1 | 1. The user is logged in. 2. The user in on the FDAS Page | The user navigates to the FDAS and selects a floor and equipment |  | The FDAS should display the selected floor and equipment's historical data | The floor and equipment data are displayed correctly | Passed
2 |  | Scroll down to the Alarms section |  | The Alarms table should be visible below the historical data | The Alarms section is visible | Passed
3 |  | Check if the table has column headers (Timestamp, Message, Building, Floor, Priority) |  | All columns should be present and correctly labeled | Column headers are displayed correctly | Passed
4 |  | Verify that sorting works for each column |  | Clicking on a column header should sort the table accordingly | No results found |  | There is no data displayed currently
5 |  | Verify the View dropdown allows users to show/hide columns |  | Checking/unchecking columns should update the table view | View dropdown works correctly | Passed
|  | Check for alarm entries in the table |  | If there are alarms, they should be displayed; if not, it should say "No results." | "No results." is displayed as expected | Passed
6 |  | Verify the pagination buttons ("Previous" & "Next") |  | The table should move to the next or previous page | The buttons are not clickable at the moment since there are no data |  | There is no data displayed currently
7 |  | Repeat steps 1 to 6 for all floors and equipements |  | The alarms data should be displayed correctly for all devices | The alarms data should be displayed correctly for all devices |  | There is no data displayed currently
HIMO BEMS CCTV and DOORS
HIMO BEMS CCTV and DOORS Interface
1 | 1. The user is logged in | Navigate to CCTV and DOORS Page by clicking the seventh icon in the side bar |  | The user is redirected to CCTV and DOORS Page | The user is redirected to CCTV and DOORS Page | Passed
2 |  | Verify the CCTV |  | System should display camera feeds | Cameras inactive | Failed
3 |  | Verify the CCTV selection |  | System should zoom into the selected CCTV | CCTV is zoomed | Passed
4 |  | Close the CCTV |  | The system should be able to close the zoomed cctv | CCTV is unzoomed | Passed
5 |  | Verify the Door |  | The system should display all available doors and their status | No doors found | Failed
HIMO BEMS Parking
HIMO BEMS CCTV and DOORS Interface
1 | 1. The user is logged in | Navigate to Parking Page by clicking the seventh icon in the side bar |  | The user is redirected to Parking Page | The user is redirected to Parking Page | Passed
2 |  | Check the Building Selection (Ground Floor / First Floor) |  | The system should display parking spots for the selected floor | Parking spots change based on floor selection | Passed
3 |  | Verify Parking Summary (Total, Available, Taken Spots) |  | The summary should accurately reflect the number of parking slots | The summary reflects the actual data | Passed
4 |  | Check Vehicle Type Filter |  | The system should filter parking spots based on selected vehicle type | The filter is confusing | Failed
5 |  | Check Classification Filter (VIP, PWD, Regular) |  | The system should filter parking spots based on classification selection | The filter is confusing | Failed
6 |  | Verify an Available Parking Spot (e.g., P1-A) |  | The system should display the slot as available with a green icon | Displayed correctly using colors coding | Passed
7 |  | Verify an Occupied Parking Spot (e.g., P2-A, P4-A, P5-A) |  | The system should display the slot as occupied with a red icon and time parked | Displayed correctly using colors coding | Passed
HIMO BEMS Battery Monitoring
HIMO BEMS Battery Monitoring
1 | 1. The user is logged in | Navigate to the Battery Monitoring Page from the sidebar |  | The user is redirected to the Battery Monitoring Page | The user is redirected successfully | Passed
2 | 1. The user is on the Battery Monitring Page | Select a Building (Calamba Building / Calamba Side Building) |  | The system should display battery data for the selected building | Battery data updates based on selection
3 |  | Check Battery State of Health |  | The system should display the correct State Of Health for each battery
4 |  | Check Battery State of Charge |  | The system should display the correct State Of Charge for each battery
5 |  | Verify Battery Temperature |  | The system should show the correct temperature
6 |  | Verify Battery Cycles |  | The system should display the correct cycle count
7 |  | Verify Battery Internal Resistance |  | The system should show the correct internal resistance
8 |  | Verify Battery Type |  | The system should display the correct battery type
9 |  | Verify Battery Capacity |  | The system should display the correct capacity value
10 |  | Verify Battery Nominal Voltage |  | The system should display the correct voltage
11 |  | The battery model should dynamically change based on its State of Health |  | The model is changing depending on its health | The model is changing | Passed
HIMO BEMS Elevator and Escalator
HIMO BEMS Elevator and Escalator
1 | 1. The user is logged in | Navigate to the Elevator and Escalator page. |  | The user is redirected to the Elevator and Escalator Page | The user is redirected successfully | Passed
2 | 1. The user is on the Elevator and Escalator Page | Verify default building selection |  | The system should have a default building selected upon page load. |  | Passed
3 |  | Verify building selection functionality |  | The system should load and display the relevant elevators and escalators for the selected building. |  | Passed
4 |  | Check if the elevators and escalators are displayed with their respective statuses (On/Off). |  | All elevators and escalators should be displayed correctly with their current status. | All elevators and escalators displayed correctly with their current status. | Passed
5 |  | Check total runtime and accumulated weight values |  | The system should display the correct State Of Health for each battery |  | Passed
6 |  | Check the other components of the elevators(e.g., Runtime Today, Acc. Weight Today, Speed, Max Capacity, Number of Stops) |  | The system should display the components correctly | The components are displayed correctly | Passed
7 |  | Check the other components of the escalator (e.g., Runtime Today, Acc. Weight Today, Speed, Inclination Angle, Step Width) |  | The system should display the components correctly | The components are displayed correctly | Passed
8 |  | Check the device indication (Red for off, green for on) |  | The system should display the correct colors depending on its status | The system displays the status with matching colors correctly | Passed
HIMO BEMS Power Meters
HIMO BEMS Power Meters Dashboard
1 | 1. The user is logged in 2. The user has access to power meter dashboard | Navigate to power meters dashboard. |  | The user is redirected to power meters Page | The user is redirected successfully | Passed
|  | Verify that all power meters are displayed. |  | The system should display all power meters installed | All six power meters are visible. | Passed
|  | Check the voltage, current, and power values for each power meter. |  | The values should match real-time readings from the power meters.
|  | Verify the gauge indicator for each power meter. |  | The gauge should reflect the correct percentage and color (Green: Normal, Yellow: Warning, Red: Critical). | The guage moves depending on the data |  | The guage moves depending on the data but can't verify yet
|  | Verify that all labels and legends (Voltage, Current, Power, Normal, Warning, Critical) are correctly displayed. |  | All labels are correctly displayed without any missing or misaligned text. | All labels are correctly displayed without any missing or misaligned text. | Passed
HIMO BEMS Public Address
HIMO BEMS Public Address
1 | 1. The user is logged in 2. The user has access to public address | Navigate to public address page. |  | The user is redirected to public address Page | The user is redirected successfully | Passed
UNDER DEVELOPMENT
HIMO BEMS Alarms
HIMO BEMS Alarms Interface
1 | 1. The user is logged in 2. The user has access to Alarms | Navigate to Alarms page. |  | The user is redirected to Alarms Page | The user is redirected successfully | Passed
2 |  | Verify the presence of key components: Date filter,Alarms Table, Events table, Sorting options, and Pagination controls. |  | All components should be visible and correct | All components are visible | Passed
3 |  | Verify that the events table contains columns: Timestamp, Message, Building, Floor, and Priority. |  | All expected columns are correctly labeled and displayed. | All expected columns are correctly labeled and displayed. | Passed
4 |  | Verify that the default Alarm entries are correctly displayed with proper data formatting. |  | Alarms are listed with appropriate timestamps, messages, and building/floor details. | Alarms are listed with appropriate timestamps, messages, and building/floor details. | Passed
5 |  | Verify that the default Event entries are correctly displayed with proper data formatting. |  | Events are listed with appropriate timestamps, messages, and building/floor details. | Events are listed with appropriate timestamps, messages, and building/floor details. | Passed
6 |  | Verify that sorting indicators are present on sortable columns. |  | Sorting arrows/icons appear on relevant columns. | Sorting arrows/icons appear on relevant columns. | Passed | Sorting works
|  | Verify that next and previous button works |  | The page should move next or previous depending on the user choice | The button is not functional | Failed
HIMO BEMS Alarms Date Filter
1 | 1. The user is logged in 2. The user has access to Alarms | Navigate to Alarms page. |  | The user is redirected to Alarms Page | The user is redirected successfully | Passed
2 | 1. The user is on the Alarm Page | Click on the date filter field. |  | The date selection popup appears. | The selection appeared. | Passed
3 |  | Verify that the calendar allows selecting a date range. |  | User can select a start and end date. | User can select a start and end date. | Passed
4 |  | Select a date range. |  | Selected date range is applied, and the "Confirm" button becomes active. | Selected date range is applied, and the "Confirm" button becomes active. | Passed
5 |  | Click on the "Confirm" button. |  | The events list updates to reflect the selected date range. | The events list updates to reflect the selected date range. | Passed
6 |  | Verify that all displayed events fall within the selected date range. |  | All events shown should have timestamps within the specified range. | All events shown should have timestamps within the specified range. | Passed

## Screenshots
HIMO BEMS Navigation
HIMO BEMS Overview

## Defect Log
| Not Executed | 3
| Closed | 0
| Opened | 0
| Reopened | 0
| Deferred | 0
| Rejected | 0
| Total Executed | 0
| Success Rate | #DIV/0!
# | Defect Name | Steps to Replicate | Input | Screenshot | Status | Comment
1 | Meters labels or tooltip |  |  |  | Not Executed
2 | Filter by Last 30 Days | 1. Login your HIMO BEMS Account. 2. Go to HIMO BEMS Overview 3. Scroll down to Energy Consumption section 4. In filters, select Last 7 Days |  |  | Not Executed |  | `
| Filter by Last 7 Days |  |  |  | Not Executed